University of Waterloo

Classroom Standards

Last updated:

November 20, 2025

This document replaces any previous version.

Table of Contents

1. Introduction	4

1.1 Purpose	4

1.2 Revision Policy	4

1.3 Teaching and Learning Spaces Values 	5

1.4 Classroom Design Principles	6

1.5 Additional Compulsory Standards:	6

2. CLASSROOM DESIGN	7

2.1 CONFIGURATION BY SIZE/PURPOSE	7

2.2 CLASSROOM LAYOUTS	13

2.3 TIERS	13

2.4 AISLES/ROWS  	13

2.5 SIGHTLINES	14

2.6 DOORS	14

2.7 WINDOWS	15

2.8 FLOORING	15

2.9 SURFACES AND FINISHES	16

2.10 CEILINGS	16

2.11 WRITING SURFACES	17

2.12 FURNITURE	17

2.13 ELECTRICAL SYSTEMS	19

2.14 MECHANICAL SYSTEMS	19

2.15 HEATING, VENTILATION AND AIR CONDITIONING (HVAC)	19

2.16 WASTE AND RECYCLE	19

3. PRESENTATION TECHNOLOGIES	19

3.1 Audio Visual Components	20

3.2 Acoustics 	20

3.3 Sound Zones	20

3.4 Lighting	20

3.5 Placement / Fixtures	20

3.6 Colour / Temperature / Brightness	21

3.7 Switches and Controls 	21

3.8 Zones/Scenes	21

3.9 Motion and Sound Sensors	21

3.10 Instructor Podiums 	22

3.11 Projectors and Projection Screens	22

3.12 Screen Positioning and Location	22

3.13 Flat panel displays	22

3.14 Sound System	23

3.15 Accessibility - Assisted Listening Devices (ALDs) 	23

4. Revision History	24

# 1. Introduction

These design standards have been compiled by the Teaching and Learning Spaces Operations (TLSOps) group to address the need for a current set of classroom standards at the University of Waterloo and are intended to provide a resource to various campus partners during the design phase of each renovation/new build.

The design standards will be made available on the Teaching and Learning Spaces website. It is the responsibility of the TLSOps group member(s) consulted or involved in renovations or new builds to ensure that these design standards are followed.


1.1 Purpose

The purpose of these classroom standards is to set out minimum requirements for the design and redesign of teaching and learning spaces on the University of Waterloo campuses. These standards are not intended to limit what is possible, but instead to define a minimum baseline standard to ensure consistency in existing/future teaching and learning spaces.

Classroom space design documents help to minimize recurring design and construction problems, minimize change orders and expensive renovations, and eliminate inconsistencies in layouts, labeling, and controls. They also serve as a place to record what aspects of classroom design have been proven to support a productive and proactive learning process. All standards will meet or exceed accessibility requirements.

These standards are to be applied to all teaching spaces, including Registrar’s Office managed and Faculty managed spaces.

These standards should be considered a living document, regularly reviewed and updated as pedagogy, technologies, safety, accessibility and building standards evolve.

# 1.2 Revision Policy

The University of Waterloo Classroom Standards will undergo a full review by the Teaching and Learning Spaces Operations group every two years. However, the committee may make minor revisions at any time and as needed.

1.3 Teaching and Learning Spaces Guidelines

This document serves as the foundation for the University of Waterloo’s minimum classroom standards and defines how our core beliefs regarding teaching and learning are reflected in the quality of our teaching environments.

Classroom spaces at the University of Waterloo foster the best work of our instructors and students because their design and redevelopment are user-centered, inclusive and forward-thinking, performed with transparency of process.

# 1.4 Classroom Design Principles

- Plan classrooms that fit with institutional needs and directions

- Enable innovative and diverse instructional practices that facilitate interactivity

- Apply an iterative, consultative, and informed design and feedback process to classroom planning

- Ensure our classroom designs are inviting

# 1.5 Additional Compulsory Standards:

In new buildings and when renovating existing classrooms, it is assumed that all legal building standards will be applied including:

- Accessibility for Ontarians with Disabilities Act (AODA)

- CSA B651 Accessibility of the Built Environment Standard (CSA)

- Ontario Building Code (OBC)

- Ontario Fire Code

- AODA Toolkit on Universal Design

2. Classroom Design

2.1 Configuration by Size and Purpose

Seminar-style Classroom (10 – 50 capacity)

Configuration:

- Seminar rooms should be built in proximity to each other since more than one is often booked for break-out discussions

- Allow for visual contact between all occupants

- Square or rectangular layouts are preferred. A range of 1:1 to 2:3 is acceptable

- Windows should be equipped with light filtering or light blocking blinds

- Room lighting should be dimmable

- An alcove should be included near the entrance for waste and recycling containers

- If possible, allow adequate space for a chair to be placed to the side without compromising circulation in the room, allowing for wheelchair access to the table/desk space

Furnishings/Room characteristics:

- Moveable tables should be standard 2ft by 4ft where possible

- Chairs should be loose and stackable

- The floor should be carpeted (low pile) to avoid unnecessary noise as tables/chairs are reconfigured

- Sound panels should be installed where possible to assist with acoustics

- Whiteboards and/or chalkboards should be installed at the front and on side walls where possible (Note: no whiteboard-painted walls)

- If whiteboards and/or chalkboards are installed on a side wall, boards (including trays) should not protrude more than 100mm (about 3.94 inches) into the room

- If space permits, coat hooks should be mounted at both seated and standing heights

- Corner guards should be installed on all inside wall edges, high enough to deflect tables and chairs

Presentation Technologies:

- Details regarding presentation technologies must be developed in consultation with ITMS to maintain campus standardization

- Provide a proper screen (LCD, projector) type based on the room size and spacing to accommodate the number of seats indicated

- The room should have a built-in sound system able to play audio from any source

- The room should be equipped with a system allowing lecture recording and hybrid teaching and learning process

Small Lecture-style Classroom (10 – 40 capacity)

Configuration:

- Square or rectangular set-up is preferred. A range of 1:1 to 2:3 is acceptable

- If possible, entrance to the room should be near the front of the classroom

- Windows can be on any wall except the front and should be equipped with light filtering or light blocking blinds

- Room lighting should be dimmable

- An alcove should be included near the entrance for waste and recycling containers.

- If possible, allow adequate space for a chair to be placed to the side without compromising circulation in the room, allowing for wheelchair access to the table/desk space

Furnishings/Room characteristics:

- Provide an adjustable podium and chair for the instructor/TAs.

- Moveable tables should be standard 2ft by 4ft where possible

- Chairs should be loose and stackable

- The floor should be carpeted (low pile) to avoid unnecessary noise as tables/chairs are reconfigured

- Sound panels should be installed where possible to assist with acoustics

- Whiteboards and/or chalkboards should be installed at the front and on side walls where possible (Note: no whiteboard-painted walls)

- If whiteboards and/or chalkboards are installed on a side wall, boards (including trays) should not protrude more than 100mm (about 3.94 inches) into the room

- If space permits at the back of the room, coat hooks should be mounted at both seated and standing heights

- Corner guards should be installed on all inside wall edges, high enough to deflect tables and chairs

Presentation Technologies:

- Details regarding presentation technologies must be developed in consultation with ITMS to maintain campus standardization

- Provide a proper screen (LCD, projector...) type based on the room size and spacing to accommodate the number of seats indicated

- The room should have a built-in sound system able to play audio from any source

- The room should be equipped with a system allowing lecture recording and hybrid teaching and learning process

- The control system shall provide access to the available presentation sources in a way that is consistent with the University’s standard GUI, but reflective of the available sources within the specific room

Mid-size Lecture-style Classroom (41 – 79 capacity)

Configuration:

- Square or rectangular layouts are preferred. A range of 1:1 to 2:3 is acceptable

- Two points of entry should be provided if possible (capacity 41 – 59)

- Two points of entry must be provided (capacity 60+)

- If possible, entrance to the room should not be near the front of the classroom

- Windows can be on any wall except the front and should be equipped with light filtering or light blocking blinds

- Room lighting should be dimmable

- An alcove should be included near an entrance for waste and recycling containers

- If possible, allow adequate space for a chair (or chairs) to be placed to the side without compromising circulation in the room, allowing for wheelchair access

Furnishings/Room characteristics:

- Provide an adjustable podium and chair for the instructor/TAs.

- Moveable tables should be standard 2ft by 4ft where possible

- Chairs should be loose and stackable

- The floor should be carpeted (low pile) to avoid unnecessary noise as tables/chairs are reconfigured

- Sound panels should be installed to assist with acoustics

- Whiteboards and/or chalkboards should be installed at the front and on side walls where possible (Note: no whiteboard-painted walls)

- If the whiteboards/chalkboards are installed on a side wall, boards (including trays) should not protrude more than 100mm (about 3.94 inches) into the room

- If space permits at the back of the room, coat hooks should be mounted at both seated and standing heights

- Corner guards should be installed on all inside wall edges, high enough to deflect tables and chairs

Presentation Technologies:

- Details regarding presentation technologies must be developed in consultation with ITMS to maintain campus standardization

- Provide a proper screen(s) (LCD, projector...) type based on the room size and spacing to accommodate the number of seats indicated

- The room requires a complete sound reinforcement system c/w Assistive Listening System (ALS)

- The room should be equipped with a system allowing lecture recording and hybrid teaching and learning process

- The control system shall provide access to the available presentation sources in a way that is consistent with the University’s standard GUI, but reflective of the available sources within the specific room

- The brightness of the projector should be coordinated to ensure a contrast ratio exceeding 10:1 between the projector light and the ambient light on the screen surface This contrast ratio should be accomplished by a combination of controlling ambient light, screen surface selection and projector brightness

- Sources/source connection for presentation will be primarily located within the lectern and can include: podium PC, HDMI connection, audio line out, audio line in, one or multiple Doc Cam units, etc.

Large Lecture-style Classroom (80 – 149 capacity)

Configuration:

- Square or rectangular layouts are preferred. A range of 1:1 to 2:3 is acceptable

- Allow at least 2.4m between the edge of a table and the front wall

- Allow at least 1.5m from the edge of the tables/chairs to side and rear walls

- Two entrances must be provided

- Windows can be on any wall except the front and should be equipped with light filtering or light blocking blinds

- Room lighting should be dimmable

- An alcove should be included near an entrance for waste and recycling containers.

- Sightlines must be maintained for both the students and the instructor

- If possible, allow adequate space for a chair (or chairs) to be placed to the side without compromising circulation in the room, allowing for wheelchair access to the table/desk space

Furnishings/Room characteristics:

- Provide an adjustable podium and chair for the instructor/TAs

- Install continuous fixed tables or moveable tables of standard 2ft by 4ft size where possible

- If seating is fixed, electrical outlets should be installed every other seat at a safe and convenient location

- The chairs should be loose and stackable

- If space permits at the back of the room, coat hooks should be mounted at both seated and standing heights

- Sound panels should be installed to assist with acoustics

- Whiteboards and/or chalkboards should be installed at the front and on the side walls where possible (Note: no whiteboard-painted walls)

- If whiteboards and/or chalkboards are installed on a side wall, boards (including trays) should not protrude more than 100mm (about 3.94 inches) into the room

- Accessible seating should be included in the front, back, and middle of the room

- Corner guards should be installed on all inside wall edges, high enough to deflect tables and chairs

Presentation Technologies:

- Details regarding presentation technologies must be developed in consultation with ITMS to maintain campus standardization

- Provide a proper screen(s) (LCD, projector...) type based on the room size and spacing to accommodate the number of seats indicated

- The room requires a complete sound reinforcement system c/w Assistive Listening System (ALS)

- The room should be equipped with a system allowing lecture recording and hybrid teaching and learning process

- The control system shall provide access to the available presentation sources in a way that is consistent with the University’s standard GUI, but reflective of the available sources within the specific room

- The brightness of the projector should be coordinated to ensure a contrast ratio exceeding 10:1 between the projector light and the ambient light on the screen surface. This contrast ratio should be accomplished by a combination of controlling ambient light, screen surface selection and projector brightness

- Sources/source connection for presentation will be primarily located within the lectern and can include podium PC, HDMI connection, audio line out, audio line in, one or multiple Doc Cam units, etc.

Lecture Halls (150+ capacity)

Configuration:

- If tiering is necessary, gentle tiering is preferred

- Avoid steps between tiers. Ramps are preferred

- Tiers should be wide enough to accommodate two rows of tables and chairs to facilitate interactive teaching

- Entrances should be located at both upper and lower levels on both sides of the room

- If non-tiered, 2 entrances must be provided

- An alcove should be included near the entrance for waste and recycling containers

- If possible, allow adequate space for a chair (or chairs) to be placed to the side without compromising circulation in the room, allowing for wheelchair access to the table/desk space

- Enough height should be provided to allow for the projected image to be above the whiteboards/blackboards

- Windows should be equipped with light filtering or light blocking blinds

- Room lighting should be dimmable

Furnishings/Room characteristics:

- Provide an adjustable podium and chair for the instructor/TAs.

- Continuous fixed tables are preferred. Fixed tablet armchairs are an alternative if space is limited. A mixture of the two can be considered

- If seating is fixed, electrical outlets should be installed every other seat at a safe and convenient location

- Chairs should be loose and stackable to allow for collaboration

- If space permits at the back of the room, coat hooks should be mounted at both seated and standing heights

- Sound panels should be installed to assist with acoustics

- Whiteboards and/or chalkboards should be installed at the front and on the side walls where possible (Note: no whiteboard-painted walls)

- If whiteboards and/or chalkboards are installed on a side wall, boards (including trays) should not protrude more than 100mm (about 3.94 inches) into the room

- Corner guards should be installed on all inside wall edges, high enough to deflect chairs

- Windows should be equipped with light filtering or light blocking blinds

- Room lighting should be dimmable

Presentation Technologies:

- Details regarding presentation technologies must be developed in consultation with ITMS to maintain campus standardization

- Provide a proper screen(s) (LCD, projector...) type based on the room size and spacing to accommodate the number of seats indicated

- The room requires a complete sound reinforcement system c/w Assistive Listening System (ALS)

- The room should be equipped with a system allowing lecture recording and hybrid teaching and learning process

- The control system shall provide access to the available presentation sources in a way that is consistent with the University’s standard GUI, but reflective of the available sources within the specific room

- The brightness of the projector should be coordinated to ensure a contrast ratio exceeding 10:1 between the projector light and the ambient light on the screen surface. This contrast ratio should be accomplished by a combination of controlling ambient light, screen surface selection and projector brightness

- Sources/source connection for presentation will be primarily located within the lectern and can include podium PC, HDMI connection, audio line out, audio line in, one or multiple Doc Cam units, etc.

Flexible Classroom

Configuration:

- Square set up preferred.

- Avoid long, narrow configurations

- Windows should be equipped with light filtering or light blocking blinds

- Room lighting should be dimmable

- An alcove near an entrance should be included for waste and recycling containers

- There should be enough space to allow furniture and people to move around the room without compromising circulation in the room

- The room should display furnishing configuration options to describe different ways to arrange furniture based on pedagogical needs (e.g., seminar style, small group pods, etc).

Furnishings/Room characteristics:

- Provide an adjustable podium and chair for the instructor/TAs.

- Movable tables with castors, and in most cases with no horizontal dimension greater than 36 inches

- Various table sizes may be considered

- Chairs should be loose, stackable and equipped with casters

- If space permits, coat hooks should be mounted at both seated and standing heights

- The floor should be carpeted (low pile) to avoid unnecessary noise as tables/chairs are reconfigured

- Sound panels should be installed to assist with acoustics

- Whiteboards and/or chalkboards should be installed on all available wall spaces (Note: no whiteboard-painted walls).

- Boards (including trays) should not protrude more than 100mm (about 3.94 inches) into the room

- Corner guards should be installed on all inside wall edges, high enough to deflect tables and chairs

Presentation Technologies:

- Details regarding presentation technologies must be developed in consultation with ITMS to maintain campus standardization

- Provide a proper screen (LCD, projector...) type based on the room size and spacing to accommodate the number of seats indicated

- The room should have a built-in sound system able to play audio from any source

- The room should be equipped with a system allowing lecture recording and hybrid teaching and learning process

- The control system shall provide access to the available presentation sources in a way that is consistent with the University’s standard GUI, but reflective of the available sources within the specific room

Active Learning Classroom

Configuration:

- Square or rectangular layouts are preferred. A range of 1:1 to 2:3 is acceptable.

- Windows should be equipped with light filtering or light blocking blinds

- Room lighting should be dimmable

- An alcove near an entrance should be included for waste and recycling containers

Furnishings/Room characteristics:

- Provide an adjustable podium and chair for the instructor/TAs

- Tables should be fixed to allow for student access to electrical outlets and technologies provided

- Various table sizes may be considered

- Chairs should be loose, stackable and equipped with casters

- If space permits, coat hooks should be mounted at both seated and standing heights

- The floor should be carpeted (low pile) to avoid unnecessary noise as the chairs are reconfigured

- Sound panels should be installed where possible to assist with acoustics

- Whiteboards and/or chalkboards should be installed at each table group/pod (Note: no whiteboard-painted walls)

- Boards (including trays) should not protrude more than 100mm (about 3.94 inches) into the room

- Windows should be equipped with light filtering or light blocking blinds

- Room lighting should be dimmable

- Corner guards should be installed on all inside wall edges, high enough to deflect chairs

Presentation Technologies:

- Details regarding presentation technologies must be developed in consultation with ITMS to maintain campus standardization

- At least one touchscreen television on each wall and/or at each pod with interactive capabilities to foster student collaboration and to allow instructors to work with the information students provide on the TV screens

- The room should have a built-in sound system able to play audio from any source

- The room should be equipped with a system allowing lecture recording and hybrid teaching and learning process

- The control system shall provide access to the available presentation sources in a way that is consistent with the University’s standard GUI, but reflective of the available sources within the specific room

## 2.2 Classroom Layouts

- Room layouts should be designed, where possible, to encourage active and collaborative learning as well as student/faculty interaction

- Rooms with moveable furniture should provide multiple optional layouts

- All furniture must be stored within the room without impeding movement

- Long, narrow rooms must be avoided. A range of 1:1 to 2:3 is acceptable.

## 2.3 Tiers

- To encourage interactive and collaborative learning when a room is tiered, the tiers should ideally be wide enough to accommodate two rows of tables and chairs

- Room design should take sightlines into consideration as well as the ease of movement of the instructor through the room

- Steps should be avoided. Ramps are preferred

## 2.4 Aisles/Rows

- Side and middle aisles are preferred to provide better student access to seating

- Rows should be designed to allow instructors to easily move throughout the room to assist students and to facilitate peer interaction

- Consideration should be given to the distance between rows when students are seated

- The depth of the row should allow for minimal disruption and efficient movement of individuals in and out of the room

- Consideration should also be given to where students will safely store their belongings, such as bags and heavy winter coats without obstructing movement between seats

- Lighting along aisles should be maintained even when lights are dimmed for safety

## 2.5 Sightlines

- Each seat must provide an unobstructed view of the instructor and presentation technologies

- There should be no columns or other visual obstructions

## 2.6 Doors

- While the minimum number of exits is determined by the building code, two entrances should be provided where possible

- Where a “front” of a classroom is identified, place the entrance to the back of the room if possible

- Considering classroom size, usage, and adjacent spaces, vestibules may be considered to control the amount of noise and light that may interrupt a class

- Hardware/Dimensions

  - Doors should be as quiet as possible when opening and closing, with hardware that minimizes noise

- In rooms that are likely to have noisy areas outside the entrance, there should be seals around the door

- Doors should have a kick plate on both sides but at least on the push side

- All doors should have vertical, shatter-resistant, safety panels to address doorway collisions and security concerns

- Safety panel glass should be double-paned and acoustically sealed and should be tinted to reduce light spillage

- Door handles should be lever-style, operable in a closed-fist position

- All classrooms must be equipped with a lock set that can be left locked or unlocked

- The lock must allow occupants to leave the room without a key

- Accessibility

  - Accessibility Standards must be applied to doors with regards to opening force, hardware, width, thresholds, and maneuvering clearances

  - Automatic door openers should be included on at least one entrance to each classroom

  - Door and frame colour should contrast with the wall colour

  - Safety panels in doors must extend low enough to accommodate accessibility standards

  - Card access or security systems should be accessible to individuals with vision and learning impairments

## 2.7 Windows

- Exterior Openings

  - Wherever possible, windows that provide natural light and a direct view to outdoors, or indirect access to natural light via skylights should be provided in classrooms

  - Windows should not be located behind the instructor

- Window Coverings

  - Window coverings should consist of a light diffusing roller shade in conjunction with a room darkening roller shade, with the percentage of diffusion determined by evaluating the individual window’s orientation and exposure to sunlight

  - Total blackout shades may be required in specific rooms depending on their usage

  - Motorized window blinds are preferred; however, if manually operated blinds are chosen, metal chains are preferred over plastic as plastic chains tend to get tangled more easily and break more frequently. Metal chains are heavier and more durable and perform better than plastic chains in a shade pulley system

  - Mechanisms must be within the reach of individuals in wheelchairs and operable in a closed fist position

## 2.8 Flooring

- The type of flooring chosen should be selected based on the size, configuration, and intended use of the room

- Classroom floors should be in neutral colors, easy to clean, and inexpensive to maintain

- The acoustic impact of flooring material selected must be considered

- Chemicals and off-gassing of materials, adhesive, and dust collection should be considered to maintain the University’s scent-sensitivity guidelines

- Flooring should be smooth and slip-resistant

- Consider differentiation of floor materials between circulation areas and areas with tables/chairs to support orientation

- Carpet

  - Carpet material should be long lasting, anti-static, high traffic, stain and moisture resistant, commercial grade carpet

  - The carpet should be light in colour and have simple patterns: Busy patterns such as stripes and checks can create confusion for people with low vision while solid, dark colours can create a “bottomless pit” effect

  - The carpet should be colour-contrasted with the wall colour to assist people with low vision in distinguishing between the floor and walls

  - The carpet should be installed as carpet tiles if possible, allowing for selective replacement of damaged or worn areas

  - The impact of carpet on sound distribution within the room must be considered

- Accessibility

  - Carpet selection must take accessibility into consideration and must not restrict the movement of users with mobility aids

  - It must be compliant with CAN/CSA-B651 Accessible Design for the Built Environment

- Steps/Ramps/Aisles

  - Stair nosing should be durable and long lasting, with metal preferred over plastic and vinyl

  - Stair nosing should be highlighted with a wide, high-contrast, photo-luminescent strip

  - Tactile attention indicators should be installed at the top and bottom of stairs

2.9 Surfaces and Finishes

- Colours and Finishes

  - Paint should be exceptionally durable and easy to maintain

  - Paint should have an eggshell finish so that light is not reflected

  - Warm colours are preferred (pure white reflects too much light from projectors)

  - Dark colours should be avoided as they absorb too much light

  - Accent walls or thematic wall graphics should never be used on the front wall or on any wall that could reflect onto the projecting screen

  - Accent walls or thematic wall graphics must never be in high-contrast repetitive patterns, as this can cause problems for recordings of class sessions

  - Chair rails should be installed on all non-masonry back and side walls with moveable student furniture

- Sustainability

  - Paint should be zero VOC and contain no glycol and no other toxicity

  - Only latex (water-based solvents) paint should be used

- Moveable walls

  - Moveable walls are not preferred because of sound transfer

  - If a moveable wall must be included in a design, it should be simple to operate and allow for a quick conversion of the space by room users without special tools or support from building staff

  - Walls should operate quietly and should be designed to prevent sound intrusion from either side of the barrier

  - Sound ratings should consider the intended usage of the room; however, higher values are preferred to allow for future flexibility in room usage

  - If moveable walls are chosen, when the room is split it should be possible for one room to screen a film while students in the other complete an exam without disturbance

  - Skyfold walls are preferred over horizontally operated systems because of safety concerns

2.10 Ceilings

- Ceiling Height

  - Minimum ceiling height above the finished floor can be determined by room capacity, however, ceilings should be as high as possible

  - The larger the room, the higher the ceiling should be

  - Ceiling height must accommodate appropriately sized projection screens placed high enough to allow viewing by students seated in the back of the room

- Material and Finishes

  - Ceilings should be made of acoustic tiles, giving access to technology and power

  - The ideal ceiling finish is matte white

2.11 Writing Surfaces

- Writing surfaces should be provided on at least two walls, one of which must be the teaching wall

- In large lecture halls, tiered or sectional boards are desired

- Where possible, writing surfaces should not cover the projection screen when extended If the writing surface must be covered by the screen, there should be a minimum of eight feet of writing surface still available when the screen is in use

- The writing surface should ideally be continuous, rather than split into two smaller sections

- See 3.12 Screen Positioning for further details

- Whiteboards/blackboards should have a continuous tray at the bottom

2.12 Furniture

- Sustainability

  - Where possible, furniture should be selected that is Eco-Logo and FSC Certified, contain natural fibers over synthetic fibers and latex over polyurethane foam, and locally manufactured and Canadian-made

  - Furniture should be made from high recycled or salvaged content, contain no or low VOC levels, and be sourced from an environmentally preferable supply chain and manufacturing process

  - The life cycle and post-life recyclability of furniture should be considered.

- Desks/Work Surfaces

  - Each student should have a workspace that is large enough to accommodate a laptop and a notebook or to have an exam booklet and textbook open at the same time

  - The workspace size should be appropriate for the purpose or use of the classroom

  - The tables should not be white, but light colours are encouraged to keep the classroom bright.

  - Tables should have an uneven grain pattern to hide markings

  - Writing surfaces must be available to students in wheelchairs

- Table legs should not block students’ knee space and should not impede configuration that allows students to work collaboratively

- Writing surfaces must be sturdy enough to withstand students’ weight if sat upon

- Movable tables

  - The ideal movable tables are ones that can be combined into groups without table legs interfering with student movement or comfort

  - Movable two-person tables should ideally be 60 inches wide by either 24 or 30 inches deep

  - When room capacity must be increased, 48 inches by 24 inches is the smallest size for a two-person table

  - Movable tables should be on locking casters

- Round tables or table configurations that are circular, should seat no more than six students and have a minimum diameter of 60 inches

- There should be no components that come in contact with the flooring that have the potential to rust

- Seating

  - Seating should be selected based on features that define the level of comfort, such as width and lumbar support, as well as the availability of replacements, ease of maintenance, cost, appearance, and versatility

  - Seating chosen should be appropriate for the greatest range of people in terms of height and weight

  - Seating should have proper lumbar support and a backrest

  - There should be no components that come in contact with the flooring that have the potential to rust

  - Seats should have either casters or gliders to facilitate movement and to avoid damaging the floor

  - Seating should be selected to coordinate with the finishes in the room

  - Cushions should be resistant to staining and easy to clean or replace

- Accessibility

  - All classrooms must provide accessible seating and writing surfaces for students in wheelchairs or with mobility issues

  - In rooms with fixed seating, additional seating should be provided that gives flexibility for students who are unable to utilize the fixed seating but conforming in design and appearance to the fixed seating

  - Wheelchair accessible seating must be provided in a variety of locations and meet all viewing angle requirements

- At least one companion seat must be provided alongside each wheelchair location

- Thought should be given to the potential presence of service animals and the space they would require to not interfere with the movement of other students throughout the room

- Space allocation must be provided for service animals to accompany their handler and rest in front of, or under the seat

- In tiered rooms, accessible positions should be included in the front, back, and middle of the room, and sightlines must be maintained between all students, the instructor, and the projection screens

- Aisle seats should have removable/retractable arm rests to allow for different height and weight, and allow students to transfer from mobility aid to chair

- Tablet-Arm Chairs

- Because tablet-arm chairs prevent students from using both a laptop and a notebook, or exam booklets and textbooks, and prevent collaboration, they should only be used in auditorium-style classrooms when necessary

- Tablet size must be a minimum of 22 inches wide and 12 inches deep

- A minimum of 10 to 15 percent of the tablet-arms chairs should be designed for use by left-handed students and should be distributed throughout the room

2.13 Electrical Systems (to be obtained from Plant Ops)

2.14 Mechanical Systems (to be obtained from Plant Ops)

2.15 Heating, Ventilation, and Air Conditioning (HVAC) (to be reviewed with Plant Ops)

- All classrooms should have operable windows or ventilation systems that provide air movement

- Window controls should be easily operated by a person in a seated position, with one hand and with minimal grasping or pinching

- In rooms with blackboards, ventilation systems should be designed to draw air away from blackboards without passing over any other part of the room, keeping chalk dust away from any electronic components in the room

- In rooms without operable windows, consideration should be given to students with cardiopulmonary medical problems who may need fresh or clean recirculated air

## 2.16 Waste and Recycling

- Waste and recycling receptacles should be easily accessible and ideally placed in close proximity to the exit(s) in a manner that does not impede the movement of individuals in and out of the room

- Receptacles must be chosen in consultation with Plant Operations Environmental Services and purchased through Plant Operations:

https://uwaterloo.ca/plant-operations/services/environmental-services/shift-zero-waste-management/shift-zero-waste-standards/receptacle-standard

- Under no circumstances will new waste and recycle receptacles be built into millwork

- Mobile receptacles will be secured professionally and aesthetically to the wall such that the unit(s) can be moved for cleaning/service by custodial staff

# 3. Presentation Technologies

All new builds and upgrades to centrally managed classrooms must be designed in consultation with Instructional Technologies and Media Services (ITMS) to ensure the ongoing maintenance and service can be supported by the expertise and equipment provided by our in-house technicians.

## 3.1 Audio Visual Components

- All audiovisual equipment and installations shall comply with federal and local building codes and regulations.

- All audiovisual equipment and installation shall comply with Infocomm International standards and best practices.

## 3.2 Acoustics

Walls should be designed to provide the optimum acoustical environment.

- Exterior walls that are common with classrooms should be designed to prevent sound intrusion, with sealed penetrations and wall elements.

All rooms should have the proper acoustical treatment to ensure that noise does not travel from within the classroom to surrounding spaces, nor allow sound to travel from outside the classroom to the inside. Design should take into consideration not just spaces adjacent to the classroom but also spaces above and below the classroom, including noise generated by HVAC systems, elevator banks, and media systems. Classroom design should also consider vibrations and other interference caused by nearby transit lines or generators.

Acoustical treatment should be distributed evenly throughout the room. Special treatment may be required for media intensive rooms or that are in locations vulnerable to excessive noise pollution, such as from busy streets.

- Floors should prevent sound transmission into the room.

- Ceilings should be acoustically non-absorbent.

- In larger rooms with a defined front, the ceiling surface above the instructional area should be sloped to help reflect sound to the rear of the classroom.

- Equipment such as fans, ductwork, and other HVAC systems with the lowest noise criteria should be prioritized.

## 3.3 Sound Zones

Acoustical treatment should be used not only to prevent noise pollution from exterior sources, but to create sound zones that can maximize instructor-student, student-student, student-instructor, and group interaction, depending on the pedagogical purpose of the room.

## 3.4 Lighting

Lighting in classrooms should be compliant with the "American National Standard Practice On Lighting For Educational Facilities" (ANSI/IESNA RP-3-13).

## 3.5 Placement / Fixtures

- Lighting fixtures should be energy efficient, low heat generating, silent, and easily maintained. Lamps, drivers, and boards should be easily accessed for replacement or repair.

- Lighting fixtures should be placed and angled so that they do not spill light onto or cause glare on projection screens or bleed through screens from behind. Ambient lighting cast onto screens must be kept to a minimum.

3.6 Colour/Temperature/Brightness

- The minimum lighting intensity absent of natural light, in any classroom at desk level must be at least 500 lux

- Measurements should be taken at several student desks and the instructor podium and any deviations of ±100 lux should be corrected

- Where possible, circadian lighting systems with different colour settings for various times of the day should be installed

## 3.7 Switches and Controls

- All room lighting controls should be clearly labelled and simple to use.

- Where possible, consider mounting controls at 6” lower than standard to allow for easy use by someone in a seated position.

- Illuminated and labeled ON/OFF controls are required at each room entrance.

- Lighting controls at the instructor podium should be illuminated.

- Dimming controls should be located at the instructor podium and at any projection equipment area.

- Controls should be integrated with room automation wherever possible.

## 3.8 Zones/Scenes

Lighting should be organized into zones that can be combined and dimmed by zone to create a variety of different lighting scenarios depending on the intended use of the room. There should be a minimum of four zones:

- Projection (room lights on, lights on screen off)

- Multimedia viewing (lights on screen off, minimal overhead lights to allow for note taking)

- Discussion / Board work (room lights on, lights on boards on)

- Customized lighting (instructor can manually override zone settings).

The instructor podium should be provided with independently operable lights that allow them to read notes and navigate equipment even while room lights are off.

Accessibility - Interpreters

Depending on room design there may also be an additional zone required to provide illumination to sign language interpreters.

## 3.9 Motion and Sound Sensors

- Rooms should be equipped with auto-off, manual-on vacancy sensors

- When installing sensors, the time limit should be set to avoid lights shutting off during low-motion activities such as exams.

## 3.10 Instructor Podiums

- Instructor podiums should be designed with both the aesthetics and the functionality of the room in mind

- Adjustable podiums will be the primary option for all classrooms

- Podiums should not obstruct the view of writing surfaces or projections screens, nor prevent the podium user from being able to see the audience

- For active learning or flexible classrooms, movable podiums or wireless technology should be explored based on the intended pedagogy and flexibility of the space

## 3.11 Projectors and Projection Screens

- The number, size, and placement of the projection screens included in a classroom is determined by the room’s seating capacity, configuration, size, and primary intended instruction style

- Screens should be fully visible to all users of the room, with no obstructions caused by architectural elements (columns, bulkheads), or the podium or room furniture

- In rooms with moveable furniture, screens should be installed on multiple walls allowing students to view what is being displayed from different sitting positions

- In rooms that are wider than deep, multiple screens should be provided along the front of the room. In rooms that are deeper than wide, screens should be installed to support users sitting in the back

- Screen housing should be independent of the ceiling, so that the screen unit can be removed for maintenance or replaced without damaging the ceiling or surrounding finishes

- An AV room is required for active learning classrooms and any classrooms with a capacity of greater than 90 students. AV rooms should be used to house AV equipment racks, secure loose equipment (e.g., remotes, microphones) and contain charging stations for wireless devices, providing a secure location, and allowing for operation and maintenance without disturbing classes while in session

## 3.12 Screen Positioning and Location

- Screens should be placed so as not to completely block writing surfaces. If the writing surface must be covered by the screen, there should be a minimum of eight feet of writing surface still available when the screen is in use.

- There should be an uninterrupted projection path from the projector location to the screen location. This should consider instructor movement as well as room features.

- Consult with ITMS on the relationship between screen and room size and for a more detailed discussion of proper screen placement.

## 3.13 Flat panel displays

- Flat panel displays with touch screens can be considered in classrooms with fewer than 75 seats and with low ceilings

- Flat panel displays should be wall or ceiling mounted

- Screens must be mounted to be visible from the back of the room but also at an accessible height for users

- If touch screens are provided, alternative input options (keyboard entry, audio prompt) must be provided for people with vision loss

## 3.14 Sound System

- All rooms should have a wireless microphone and speaker system for in-room public address, presentation reinforcement and voice-lift, as well as assisted listening devices and transmitters

## 3.15 Accessibility - Assisted Listening Devices (ALDs)

- All classrooms with a capacity of greater than 50 should be equipped with assistive listening systems that enable persons using hearing aids and persons with cochlear implants to be able to hear what is being said without having background noises also amplified.

# 4. Revision History

| Date | Author | Reviewed By |
| --- | --- | --- |
| 08-14-2025 | Julia Cockburn | Donna Ellis |
| 12-04-2025 | Jennifer Coghlin | Jennifer Coghlin |